## Slide 1: Architectural Design for 3for2 Solar Facade
Master in Integrated Building Systems
Semester project
HS 2018
Images credits: Arno Schlueter and Adam Rysanek. 3for2 beyond efficiency presentation, 2016.
Student: Natasha Catunda
Supervisor: Dr. Johannes Hofer
Examiner: Prof. Dr. Arno Schlüter

## Slide 2
Assess the impact of electrical production and cooling loads on total energy consumption of different options for 3for2 facade
Goal

## Slide 3
Parametric
model
Sun path
Radiation analysis
How

## Slide 4
3for2 concept
Sun path
Validation of solar results
Status quo analysis
Optimization studies
Electricity production
Cooling loads
Trade-off analysis
Conclusion and discussion
Presentation outline

## Slide 5: 3for2 concept
3for2 concept
Sun path
Validation of solar results
Status quo analysis
Optimization studies
Electricity production
Cooling loads
Trade-off analysis
Conclusion and discussion

## Slide 6
3for2 Concept
Source: Arno Schlueter and Adam Rysanek. 3for2 beyond efficiency presentation, 2016.

## Slide 7
Solar facade will try to address the solar electricity production to reach total building electricity consumption expected for the end of research project in 2018 of 47.4 kWh/m²/year
Benchmark
~47.4 kWh/m2.y
Source: Arno Schlueter and Adam Rysanek. 3for2 beyond efficiency presentation, 2016.

## Slide 8: Sun path
3for2 concept
Sun path
Validation of solar results
Status quo analysis
Optimization studies
Electricity production
Cooling loads
Trade-off analysis
Conclusion and discussion

## Slide 9
Singapore
1° 21' N, 103° 49' E
Sunpath

## Slide 10
March
June
September
December
Singapore
1° 21' N, 103° 49' E
Sunpath

## Slide 11
Sunpath | Minimal vertical angle
Singapore
1° 21' N, 103° 49' E
~ 65°
December
Source: Climate Consultant

## Slide 12: Validation of solar results
3for2 concept
Sun path
Validation of solar results
Status quo analysis
Optimization studies
Electricity production
Cooling loads
Trade-off analysis
Conclusion and discussion

## Slide 13: Solar radiation |PVGIS-Sarah x LB
Chart: Global horizontal radiation in Singapore
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | Average all years | LB (Horizontal)
Direct | 1230 | 1119 | 978 | 1069 | 1104 | 1089 | 1029 | 1101 | 1058 | 1187 | 1225 | 1232 | 1118.4167 | 1145.7725
Diffuse | 578 | 628 | 631 | 630 | 630 | 616 | 628 | 627 | 629 | 632 | 617 | 607 | 621.0833 | 520.7933
Δ 73 kWh/m2 (4%)
Solar radiation |PVGIS-Sarah x LB
Data source: http://re.jrc.ec.europa.eu/pvg_tools/en/tools.html

## Slide 14: Status quo analysis
3for2 concept
Sun path
Validation of solar results
Status quo analysis
Optimization studies
Electricity production
Cooling loads
Trade-off analysis
Conclusion and discussion

## Slide 15
Used Parameters | 
Amount of Floors | 35
Floor size | 30mx30m
Floor height | 3.65m
Total floor area | 31’500m2
PV dimensions: | 
Height | 0.30m
Depth | 1m
PV area | 4531.1m2
Total solar radiation | PV panels | year
Chart: 
| Horizontal surface (kWh/m2) | 3for2 (kWh/m2)
Direct | 1145.7725 | 619.6067
Diffuse | 520.7933 | 237.0295

## Slide 16
Chart: Monthly solar radiation
| Jan | Feb | Mar | Apr | Mai | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Horizontal (LB) | 140.5589 | 139.4553 | 148.1344 | 148.8158 | 144.4043 | 133.7795 | 143.2019 | 139.38 | 136.5803 | 138.4148 | 126.6314 | 127.2093
3for2 (LB) | 75.8261 | 72.1153 | 68.7327 | 72.3335 | 75.8484 | 72.158 | 76.6902 | 71.1564 | 63.7567 | 70.0765 | 67.8902 | 70.0523
Solar radiation | Monthly
Around 51% of the total radiation on horizontal surface is received on the PV panels on the facades.
The radiation around the year is rather constant

## Slide 17
Solar radiation |Per facade
East
facade
South
facade
Chart: Monthly solar radiation | Per facade
| Jan | Feb | Mar | Apr | Mai | Jun | Jul | Aug | Sep | Oct | Nov | Dec
East | 75.9136 | 74.8262 | 79.5936 | 80.2688 | 80.2592 | 69.4428 | 76.5469 | 74.1323 | 71.7935 | 78.8007 | 69.5766 | 68.9747
North | 40.4804 | 41.4518 | 51.8629 | 85.8012 | 110.6578 | 109.9345 | 116.5518 | 91.8766 | 57.4211 | 45.3787 | 40.9814 | 38.9691
West | 73.3666 | 73.4926 | 77.1352 | 78.033 | 71.8827 | 72.4357 | 75.4751 | 73.7791 | 74.4423 | 68.8044 | 65.7494 | 69.6566
South | 113.5438 | 98.6906 | 66.339 | 45.2309 | 40.5937 | 36.8188 | 38.1869 | 44.8376 | 51.3701 | 87.3224 | 95.2532 | 102.6088
All orientations | 75.8261 | 72.1153 | 68.7327 | 72.3335 | 75.8484 | 72.158 | 76.6902 | 71.1564 | 63.7567 | 70.0765 | 67.8902 | 70.0523

## Slide 18
Shading pattern|Monthly E-S facade
Jan - Jun
Jul - Dec
East
facade
South
facade
East
facade
South
facade
Jan
Feb
Mar
Apr
Mai
Jun
Jul
Ago
Set
Out
Nov
Dec

## Slide 19
Shading pattern hourly|South façade
7:00
18:00
8:00
14:00
9:00
10:00
11:00
12:00
13:00
15:00
16:00
17:00
South
0.01
0.15
0.40
0.65
0.80
0.93
0.93
0.83
0.65
0.43
0.17
0.02
East
0.01
0.19
0.49
0.71
0.83
0.77
0.40
0.31
0.23
0.15
0.07
0.02

## Slide 20
Chart: Solar radiation on 3for2 glass facade
| Horizontal Surface | Flat façade | 3for2 (Status quo)
Direct | 1145.7725 | 499.2216 | 343.8074
Diffuse | 520.7933 | 124.1751 | 61.5545
Solar radiation |Glass facade
3for2 façade receive already 35% less solar radiation than a flat façade.

## Slide 21: Optimization studies
3for2 concept
Sun path
Validation of solar results
Status quo analysis
Optimization studies
Electricity production
Cooling loads
Trade-off analysis
Conclusion and discussion

## Slide 22
Chart: Vertical angles studies
| 5° | 10° | 15° | 20° | 25° | 30° | 35° | 40° | 45° | 50° | 55° | 60° | 65° | 70°
East | 786.8647 | 835.6491 | 878.7594 | 915.0885 | 944.7217 | 966.6705 | 977.085 | 985.074 | 985.8214 | 978.2332 | 938.7713 | 906.7525 | 877.0031 | 804.1837
North | 754.5169 | 791.3411 | 822.1277 | 846.8885 | 865.6227 | 877.1278 | 871.7963 | 871.0646 | 863.4574 | 847.9954 | 793.1916 | 758.2579 | 727.1357 | 652.2763
West | 764.8527 | 811.9114 | 853.4287 | 888.3267 | 916.867 | 937.8839 | 947.6673 | 955.1963 | 955.6439 | 948.1702 | 910.2207 | 878.7324 | 849.4722 | 778.7326
South | 742.2604 | 779.7454 | 811.2373 | 836.7647 | 856.4642 | 868.9549 | 865.0919 | 865.3707 | 858.8512 | 841.6608 | 794.533 | 760.3042 | 728.9712 | 655.847
Angles study | Vertical angle | Per facade
For East and West better 40°
For North and South better 30°
Overall better 40° (919.2 kWh/m2)
3for2 status quo

## Slide 23
Different designs
3for2 40°
3for2 status quo
Bigger top
Bigger bottom
N|S 30° - E|W 40°
Image
Image
Image
Image
Image
Circle
Image
N|S 40° - E|W 30°

## Slide 24
Orientation studies | Solar radiation
Changing orientation make some small difference independent of the option, e.g. 25 kWh/m2
3for2 (40°) perform fairly the same as circle but circle design doesn’t depend on orientation
Studies indicated that N-S facades would perform better with 30° and E-W with 40°, why they are not?
Chart: Solar radiation per horizontal orientation
| 0° | 5° | 10° | 15° | 20° | 25° | 30° | 35° | 40° | 45° | 50° | 55° | 60° | 65° | 70° | 75° | 80° | 85° | 90°
Bigger bottom | 812.2276 | 823.6993 | 826.2816 | 824.1039 | 826.0436 | 823.497 | 810.4783 | 824.1753 | 827.5192 | 826.4482 | 827.1384 | 823.6279 | 809.5858 | 822.6759 | 825.0916 | 823.2233 | 825.639 | 823.3899 | 812.2276
Bigger top | 825.0678 | 832.315 | 830.9941 | 830.3753 | 831.2202 | 831.9104 | 823.3542 | 832.8029 | 832.0889 | 832.553 | 831.9461 | 832.2198 | 822.426 | 831.0774 | 830.2325 | 829.3876 | 830.1016 | 831.9818 | 825.0678
3 for 2 Status quo | 856.6366 | 874.8443 | 881.8182 | 878.6843 | 877.9339 | 871.622 | 851.98 | 870.5405 | 877.2718 | 877.5367 | 876.5877 | 869.4812 | 850.7442 | 869.9667 | 876.2566 | 877.1836 | 880.7368 | 874.2263 | 856.6366
N¦S 30° - E¦W 40° | 906.6372 | 925.8015 | 913.4271 | 922.7461 | 918.8929 | 926.1579 | 905.0588 | 929.7565 | 922.1519 | 928.9757 | 921.0486 | 933.9322 | 912.2729 | 935.392 | 924.8848 | 935.9182 | 931.0635 | 940.5692 | 923.6116
3 for 2 (40°) | 919.1764 | 938.4979 | 926.0381 | 933.8435 | 925.7503 | 936.5626 | 914.1223 | 937.8901 | 925.5103 | 932.58 | 925.2384 | 937.2024 | 912.6988 | 935.5229 | 924.2948 | 931.9881 | 924.8545 | 938.1301 | 919.1764
Circle | 940.0002 | 940.0002 | 940.0002 | 940.0002 | 940.0002 | 940.0002 | 940.0002 | 940.0002 | 940.0002 | 940.0002 | 940.0002 | 940.0002 | 940.0002 | 940.0002 | 940.0002 | 940.0002 | 940.0002 | 940.0002 | 940.0002

## Slide 25
Chart: Solar radiation per facade
| - | N | S | E | W | N | S | E | W | N | S | E | W | N | S | E | W | N | S | E | W | N | S | E | W | Circle (40°) | 3for2 (40° rotated 5°) | 3for2 (40°) | N¦S 40° - E¦W 30° (rotated 5°) | N¦S 40° - E¦W 30° | N¦S 30° - E¦W 40° | 3for2 (status quo)
Solar radiation | 940.0002 | 889.9384 | 886.2277 | 1003.18 | 974.7097 | 871.0646 | 865.3707 | 985.074 | 955.1963 | 880.5166 | 872.0791 | 907.7806 | 879.9782 | 880.8312 | 874.094 | 896.6895 | 870.0308 | 788.7126 | 786.4249 | 983.1509 | 953.2423 | 831.3672 | 820.7959 | 900.0919 | 874.2528
PV area | 1379.0516 | 1563.0299 | 1563.0296 | 1563.0299 | 1563.0296 | 1563.0299 | 1563.0296 | 1563.0299 | 1563.0296 | 1588.1587 | 1588.1586 | 2010.618 | 2010.618 | 1588.159 | 1588.1586 | 2010.6181 | 2010.6184 | 2010.6184 | 2010.6181 | 1588.1586 | 1588.1586 | 1132.7732 | 1132.7732 | 1132.7732 | 1132.7732
Different designs | Ranking | Year basis
Chart: kWh/m2
| Circle (40°) | 3for2 (40° rotated 5°) | 3for2 (40°) | N¦S 40° - E¦W 30° (rotated 5°) | N¦S 40° - E¦W 30° | N¦S 30° - E¦W 40° | 3for2 (status quo)
Solar radiation | 940.0002 | 938.4969 | 919.1819 | 886.1252 | 880.7436 | 867.2725 | 856.6362
Δ 83 kWh/m2

## Slide 26: Electricity production
3for2 concept
Sun path
Validation of solar results
Status quo analysis
Optimization studies
Electricity production
Cooling loads
Trade-off analysis
Conclusion and discussion

## Slide 27
3for2 40° | 72.3% of total area
3for2 | 79.7% of total area
PV technology | Cells distributions
Shadow pattern
Tilted cut CIGS
~ 87.5% of total area
Monocrystalline
12.5 x 12.5 cm cells
The same for all facades
Can it get better?
Notes: I couldn’t apply the cells over the whole building (too computational heavy) to get the total solar radiation, so I’ve decided to check for the area percentage. Is not ideal but it was the solution I came up.
I also don’t know if the CIGS can be tilted, but this would optimize the corners.
Don’t have the rectangular CIGS yet.

## Slide 28
Chart: Monocrystalline fill % (fixed angle 40°)
| 0.42 | 0.503 | 0.587 | 0.671 | 0.755 | 0.839 | 0.923 | 1.007 | 1.091 | 1.175 | 1.259 | 1.343 | 1.426 | 1.51 | 1.594 | 1.678 | 0.5 | 0.6 | 0.7 | 0.8 | 0.9 | 1 | 1.1 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 2
Monocrystalline fill % | 0.63642 | 0.79585 | 0.6818 | 0.79588 | 0.70736 | 0.79585 | 0.72297 | 0.79581 | 0.73427 | 0.79575 | 0.74209 | 0.79568 | 0.74865 | 0.79583 | 0.75396 | 0.79573
Better fill Monocrystalline cell | for 40°
3for2 40

## Slide 29
Chart: Electricity production(Fixed angle 40°)
| 0.503 | 0.587 | 0.671 | 0.755 | 0.839 | 0.923 | 1.007 | 1.091 | 1.175 | 1.259 | 1.343 | 1.426 | 1.51 | 1.594 | 1.678 | 0.6 | 0.7 | 0.8 | 0.9 | 1 | 1.1 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 2
Electricity production (Monocrystalline) | 392418.7203 | 389697.5109 | 521686.2319 | 505010.5474 | 626735.9174 | 623218.1055 | 749580.2605 | 717357.1727 | 828434.5089 | 820066.7266 | 906300.656 | 901355.8781 | 990947.9656 | 961235.0054 | 1065700.0128
Electricity production (CIGS) | 345096.4501 | 400033.415 | 458760.4414 | 499671.8459 | 551154.9622 | 603309.9241 | 659223.046 | 683757.5829 | 728626.8426 | 773422.6191 | 797179.9981 | 842637.0546 | 871475.6717 | 892283.0253 | 937330.7651
3 for 2 reference | 463866.6311 | 463866.6311 | 463866.6311 | 463866.6311 | 463866.6311 | 463866.6311 | 463866.6311 | 463866.6311 | 463866.6311 | 463866.6311 | 463866.6311 | 463866.6311 | 463866.6311 | 463866.6311 | 463866.6311
Consumption reference | 1493100 | 1493100 | 1493100 | 1493100 | 1493100 | 1493100 | 1493100 | 1493100 | 1493100 | 1493100 | 1493100 | 1493100 | 1493100 | 1493100 | 1493100
Chart: Area increase
| 0.42 | 0.503 | 0.587 | 0.671 | 0.755 | 0.839 | 0.923 | 1.007 | 1.091 | 1.175 | 1.259 | 1.343 | 1.426 | 1.51 | 1.594 | 1.678 | 0.5 | 0.6 | 0.7 | 0.8 | 0.9 | 1 | 1.1 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 2
Area all facades | 2788.2806 | 3354.1531 | 3926.4271 | 4502.3578 | 5081.9454 | 5665.1897 | 6252.0908 | 6842.6487 | 7436.8634 | 8034.7348 | 8636.263 | 9241.448 | 9847.437 | 10459.9264 | 11076.0726 | 11695.8755
Chart: Solar radiation (Fixed angle 40°)
| 0.503 | 0.587 | 0.671 | 0.755 | 0.839 | 0.923 | 1.007 | 1.091 | 1.175 | 1.259 | 1.343 | 1.426 | 1.51 | 1.594 | 1.678 | 0.6 | 0.7 | 0.8 | 0.9 | 1 | 1.1 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 2
Solar radiation | 980.0388 | 970.4751 | 970.5806 | 936.5706 | 926.7123 | 919.1806 | 917.6853 | 875.786 | 863.8121 | 853.0543 | 821.6787 | 815.0852 | 793.6194 | 767.3659 | 763.3888
Better fill Monocrystalline cell | for 40°
Option 1
Option 2
Option 3
3for2 40

## Slide 30
Trade-off Electricity production and views
31% of total consumption
12% of facade obstruction
Depth of 0.8 (40°) has same view but bigger electricity production (35%)
3for2 original
Depth 1.0m | Height 0.3m
50% of total consumption
27% of facade obstruction
Option 1
Depth 1.2m | Height 1.0m
55% of total consumption
33% of facade obstruction
Option 2
Depth 1.4m | Height 1.2m
66% of total consumption
45% of facade obstruction
Option 3
Depth 1.8m | Height 1.5m
Floor to floor: 3.65m
Monocrystalline
Slab thickness: 0.30m

## Slide 31
Image
Image
Image
Image
Different options | Angle fixed 40°
Option 1
3for2 status quo
Option 3
Option 2

## Slide 32: Cooling loads
3for2 concept
Sun path
Validation of solar results
Status quo analysis
Optimization studies
Electricity production
Cooling loads
Trade-off analysis
Conclusion and discussion

## Slide 33
Cooling loads

## Slide 34
Parameters and assumptions used | 
g-value | 0.6
S | suppressed
Glass area flat facade | 15’330.0 m2
Glass area (Status quo) | 15’172.9 m2
Glass area (40°) | 12’802.9 m2
Glass area option 1 | 12’678.8 m2
Glass area option 2 | 12’500.1 m2
Glass area option 3 | 12’449.4 m2
Cooling loads
No significant difference between the original orientation and the rotated for the 3for2 (40°)
Solar radiation through windows
Area of glass surface (m2)
Solar radiation (kWh/m2)
g-value
Chart: Cooling loads
| Flat façade (reference) | 3for2 (status quo) | 3for2 (40°) | Option 1 - Depth 1.2m ¦ Height 1.0m | Option2 - Depth 1.4m ¦ Height 1.2m | Option3 - Depth 1.8m ¦ Height 1.5m
Cooling loads | 5734003.049 | 3690319.3735 | 2635625.4701 | 2412797.8249 | 2009406.2055 | 1335309.2378
29%
35%
46%
64%
Notes: Check if cooling loads are correct and add optinons 1, 2 and 3.

## Slide 35
Cooling loads impact on total energy demand
Chart: Impact of cooling loads on energy demand
| Status quo | 3for2 (40) | Option 1 | Option 2 | Option 3
Energy demand only for cooling loads of heat gains | 318328.92 | 227350.4606 | 208129.2289 | 173332.4524 | 115184.488
Energy demand other | 1174771.08 | 1174771.08 | 1174771.08 | 1174771.08 | 1174771.08
Solar heat gains through windows accounts for 21% of the total energy demand
Chart: Electricity production x Energy demand
| Status quo | 3for2 (40) | Option 1 | Option 2 | Option 3
Electricity production (monocrystalline) | 463866.6311 | 623218.343 | 749580.2605 | 828434.5089 | 990947.9656
Total energy demand | 1493100 | 1402121.5406 | 1382900.3089 | 1348103.5324 | 1289955.568
Self-consumption
6%
7%
10%
14%
Notes: Check if cooling loads are correct and add optinons 1, 2 and 3.

## Slide 36
Chart: Electricity production x energy demand
| Status quo | 3for2 (40) | Option 1 | Option 2 | Option 3
Electricity production (monocrystalline) | 463866.6311 | 623218.343 | 749580.2605 | 828434.5089 | 990947.9656
60% of roof (monocrystalline) | 134991.8342 | 134991.8342 | 134991.8342 | 134991.8342 | 134991.8342
Total energy demand | 1493100 | 1402121.5406 | 1382900.3089 | 1348103.5324 | 1289955.568
Addition of roof electricity production

## Slide 37: Trade-off analysis
3for2 concept
Sun path
Validation of solar results
Status quo analysis
Optimization studies
Electricity production
Cooling loads
Trade-off analysis
Conclusion and discussion

## Slide 38
Trade-off analysis
Floor to floor: 3.65m
Monocrystalline
Chart: 
| Electricity production (%) of total consumption | Façade obstruction (%) | Cooling loads (%) compared to flat façade
3for2 | 0.40108 | 0.12 | 0.64359
Option 1 | 0.63965 | 0.27 | 0.42079
Option 2 | 0.71465 | 0.33 | 0.35044
Option 3 | 0.87285 | 0.45 | 0.23288
20%
40%
60%
80%
100%
Slab thickness: 0.30m
60% of roof included

## Slide 39: Conclusion and discussion
3for2 concept
Sun path
Validation of solar results
Status quo analysis
Optimization studies
Electricity production
Cooling loads
Trade-off analysis
Conclusion and discussion

## Slide 40
Conclusions and discussions
The horizontal design of 3for2 façade is good option – just needed better vertical angle;
This type of façade design harvest roughly half of the global horizontal radiation, in terms of kWh/m2;
Cooling loads (solar heat gains) are intrinsically related to PV design and its area, and it can contribute to decrease over 10% of energy demand*;
The overall self-consumption of options vary from 31% (status quo) up to 77% (option 3)* - 61% for option 2 that does not obstruct too much the façade;
Roughly, the roof can adds up to 9%-10% of the different options self-consumption*
Rotation of 5° can increase a little the solar radiation intensity but in general orientation does not play a big role
Area plays a really big role on the total electricity production – in which ways could we increase it?
Pay attention on the cell design to take the most advantage of the available panel area - mixing design?
*considering total floor area of 31’500m2

## Slide 41: Thank you!
3for2 concept
Sun path
Validation of solar results
Status quo analysis
Optimization studies
Electricity production
Cooling loads
Trade-off analysis
Conclusion and discussion

## Slide 42: Backup slides

## Slide 43
Electricity production | used parameters
Parameters and assumptions used |  | 
Total floor area |  | 31’500 m2
PR |  | 75%
CIGS | Efficiency | 16%
 | Useful area | 87.5%
M-crystalline | Efficiency | 20%
 | Useful area | 72% - 80%
Estimated consumption |  | 47.4 kWh/m2/y
Total electricity (kWh)
Area (m2)
Solar radiation (kWh/m2)
Performance ratio
Cell efficiency
Useful area
Notes: Please note the PR. I’ve increased because I’ve considered the cell area.

## Slide 44
Further exploration
Further exploration of this project could be:
Cell design - mixed implementation of PV technologies on the panels to take better advantage of the corners;
Impact of cooling design for the PV panels;
Impact of natural lighting on the usage of artificial lighting;
Implementation of a double facade and its impact on energy demand from further shadowing - of the inner glass panel - and air insulation between panels;
Elaboration of an economic analysis;
Asses the performance of the concept on a real urban area.

## Slide 45
Weather file
“The EPW files were compiled from TMY, TMY2, TMY3, and other international datasets.”1
“Users of energy simulation programs should avoid using single year, Test Reference Year-type (TRY) weather data. No single year can represent the typical long-term weather patterns. More comprehensive methods that attempt to produce a synthetic year to represent the temperature, solar radiation, and other variables within the period of record are more appropriate and will result in predicted energy consumption and energy costs that are closer to the longterm average. Both Typical Meteorological Year 2 (TMY2) and Weather Year for Energy Calculations 2 (WYEC2) use this type of method, are based on improved solar models, and more closely match the long-term average climatic conditions.”2
1 M. Steven Doggett, P. (2018). Climate Data for Building Simulations. [online] The Building Enclosure. Available at: https://builtenv.wordpress.com/2014/02/27/climate-data-for-building-simulations/
2 Energyplus.net. (2018). Weather Data for Simulation | EnergyPlus. [online] Available at: https://energyplus.net/weather/simulation
More about weather data can be read in:
Crawley, D. B. (1998). Which weather data should you use for energy simulations of commercial buildings? ASHRAE Transactions, 104(2), 498–515.
Barnaby, C. S., & Crawley, B. D. (2011). Weather data for building performance simulation. In J. L. Hensen, & R. Lamberts, Building Performance Simulation for (pp. 62-80). Spon Press.
https://www.youtube.com/watch?v=AdViqWPwr7c&feature=youtu.be

## Slide 46
Dry bulb temperature and RH

## Slide 47
Comfort range between 30% < RH < 70%
There is no RH below 30%.
Number of hours above 70%: 7509 hours, which is equivalent to 85.7% of hours of the year
RH – Comfort range

## Slide 48
Global Horizontal Radiation

## Slide 49
Comfort hours without any strategy: 16.2%
Wind speed very low: 0.05 m/s – characteristic of most indoor conditions
Singapore | 
Met | 1
Clo | 0.7
Wind speed | 0.05 m/s
Psychrometric Chart – PMV

## Slide 50
PMV | 
Met | 1
Clo | 0.7
Wind speed | 0.05 m/s
Psychrometric Chart – Working hours
Comfort hours on PMV method with wind speed 0.05 m/s in between 8:00 to 18:00:
7.2%

## Slide 51
Solar radiation |PVGIS-Sarah x LB
Chart: Monthly solar radiation
| Jan | Feb | Mar | Apr | Mai | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2005 | 158 | 172 | 174 | 159 | 139 | 140 | 143 | 147 | 150 | 148 | 136 | 142
2012 | 155 | 149 | 145 | 143 | 136 | 144 | 151 | 155 | 160 | 144 | 125 | 121
2015 | 159 | 151 | 172 | 156 | 151 | 152 | 159 | 153 | 155 | 162 | 137 | 135
Horizontal (LB) | 140.5589 | 139.4553 | 148.1344 | 148.8158 | 144.4043 | 133.7795 | 143.2019 | 139.38 | 136.5803 | 138.4148 | 126.6314 | 127.2093
Variation per month*:
  Max Δ 43 kWh/m2
  Min Δ -26 kWh/m2
*in between measured data and Ladybug output, considering years from 2005 to 2016

## Slide 52
Angles study | Vertical angle | 1° step
Overall better 40° again
Chart: Vertical angles studies | 1° step
| 15° | 16° | 17° | 18° | 19° | 20° | 21° | 22° | 23° | 24° | 25° | 26° | 27° | 28° | 29° | 30° | 31° | 32° | 33° | 34° | 35° | 36° | 37° | 38° | 39° | 40° | 41° | 42° | 43° | 44° | 45°
 | 841.3681 | 848.1636 | 854.3925 | 860.387 | 866.1758 | 871.7671 | 877.0517 | 882.0771 | 886.9282 | 891.5907 | 895.9189 | 899.8262 | 903.2476 | 906.6372 | 909.755 | 912.6412 | 915.2794 | 910.0394 | 912.129 | 913.9424 | 915.4101 | 916.7698 | 917.8122 | 918.5834 | 918.9969 | 919.1764 | 919.0804 | 918.7133 | 918.1243 | 917.1155 | 915.9582

## Slide 53
Solar radiation |Hourly E-S facade
Chart: EAST pv PANEL
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
20.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0.013031 | 0.27145 | 0.77244 | 1.205 | 1.4522 | 1.2977 | 0.27989 | 0.24114 | 0.21208 | 0.16028 | 0.093391 | 0.029282 | 0.000527 | 0 | 0 | 0 | 0 | 0
21.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0.012526 | 0.16592 | 0.43257 | 0.67975 | 0.77244 | 0.74154 | 0.30898 | 0.23787 | 0.17291 | 0.126 | 0.077606 | 0.023 | 0 | 0 | 0 | 0 | 0 | 0
22.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.025552 | 0.068908 | 0.12415 | 0.19282 | 0.24371 | 0.26731 | 0.23691 | 0.23515 | 0.22356 | 0.13032 | 0.041424 | 0.005797 | 0 | 0 | 0 | 0 | 0 | 0
21.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0.013736 | 0.18676 | 0.49436 | 0.71064 | 0.83424 | 0.77244 | 0.40167 | 0.30753 | 0.2273 | 0.14662 | 0.070416 | 0.015445 | 0 | 0 | 0 | 0 | 0 | 0
Chart: south pv PANEL
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
20.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0.012053 | 0.13181 | 0.30898 | 0.46346 | 0.49436 | 0.55616 | 0.58705 | 0.55616 | 0.43257 | 0.30505 | 0.15611 | 0.034009 | 0.000542 | 0 | 0 | 0 | 0 | 0
21.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011703 | 0.070097 | 0.15913 | 0.24084 | 0.30115 | 0.30458 | 0.27826 | 0.24999 | 0.20492 | 0.15607 | 0.092072 | 0.024845 | 0 | 0 | 0 | 0 | 0 | 0
22.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.022983 | 0.064675 | 0.11861 | 0.18281 | 0.23169 | 0.2616 | 0.33987 | 0.43257 | 0.43257 | 0.21571 | 0.043893 | 0.00597 | 0 | 0 | 0 | 0 | 0 | 0
21.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0.013457 | 0.15432 | 0.40167 | 0.64885 | 0.80334 | 0.92693 | 0.92693 | 0.83424 | 0.64885 | 0.43257 | 0.16501 | 0.017589 | 0 | 0 | 0 | 0 | 0 | 0
Direct on December
Diffuse on June
Cloudy morning
Diffuse during afternoon
Cloudy morning
Should be roughly the same
Should be roughly the same
Notes: Check solar radiation here.

## Slide 54
Chart: Average daily solar radiation
Solar radiation |LB
Around the day 265 (22.09) there is a really low average which reflects on the results of the hourly solar radiation

## Slide 55
PV Height
Floor to floor height
PV Depth
Glass height
Slab thickness
Vertical angle
Geometry parameters